Application for Descale Operator Permit

This application is in conjunction with any proposed discharge of residual rinse waters from descale operations to the City of Austin’s (City) sanitary sewer system. All sections of this application must be completed before it will be accepted by the City. Unauthorized revisions to or modifications of this form may invalidate the application.

The discharge of residual rinse water generated from a descale project may commence only after verifying compliance with applicable permit effluent limitations. The discharge of any other process wastes and chemicals to the sanitary sewer, storm sewer or to the environment is strictly prohibited.

For assistance, call the Office of Industrial Waste Monday-Friday between 7:30 AM and 4:00 PM at (512) 972-1060. This application is available on the Austin Water Utility web site at: http://www.austintexas.gov/department/pretreatment-forms-applications-and-reports

Table of Contents

Section	Page

A.	Identifying Information	2

B.	Tenant Safety Plan	4

C.	Operations Overview	5

D.	Non-Discharged Wastes	6

E.	Spill Response and Accidental Discharge Procedures	7

F.	Supporting Exhibits	8

G.	Compliance Certification	8

Submit completed application to:	City of Austin / Austin Water Utility

Special Services Division / Office of Industrial Waste

3907 S. Industrial Drive, Suite 100

Austin, TX 78744-1070

A.	Identifying Information

| Descale Operator Info (conducts the descaling operations described in the application) |
| --- |
| Name (legal name of company or entity) | Authorized Representative Name / Title , |
| Authorized Representative E-mail Address | Authorized Representative Telephone No. ( ) - ext. |
| Mailing Address | 24-Hour Emergency Phone Number ( ) - ext. |
| City, State , | Zip Code | Fax Number ( ) - |
| City of Austin Utility Account Number (if applicable) | Federal Tax Identification No. or Federal Employer Identification No. |
| Billing Address, if different than mailing address above. | City, State | Zip Code |
| Billing E-mail Address if e-billing is preferred. |

Identify an authorized representative and, if applicable, a duly authorized representative as the designated signatory authority for both the descale company and for the owner of the building/facilities that is to be descaled.

1.	The authorized representative may be:

- A responsible corporate officer, if the industrial user submitting the reports required by this permit is a corporation.  For the purposes of this section, a responsible corporate officer means:

- A president, secretary, treasurer, or vice president of the corporation in charge of a principal business function, or any other person who performs similar policy- or decision-making functions for the corporation; or

- The manager of one or more manufacturing, production, or operation facilities employing more than 250 persons or having gross annual sales or expenditures exceeding $25 million (in second-quarter 1980 dollars), if authority to sign documents has been assigned to the manager in accordance with corporate procedures.

- A general partner or proprietor, if the industrial user submitting reports required by this permit is a partnership or sole proprietorship, respectively.

- By the director or highest official appointed or designated to oversee the operations of the facility, if the industrial user submitting reports required by this permit is a federal, state or local government entity or other institutional organization (e.g. churches, schools, non-profit agencies…etc.).

2.	The duly authorized representative may be a person specified by the authorized representative identified below if the specified person holds a position with responsibility for the overall operation of the descale activities (this may be the operations manager for descale company or other similar positions of equivalent responsibility).

| Authorized Representative for Descale Operator |
| --- |
| Printed Name | Signature |
| Title | Telephone No. ( ) - ext. |
| Mailing Address | 24-Hour Emergency Phone Number ( ) - ext. |
| City, State , | Zip Code | Fax Number ( ) - |

| Duly Authorized Representative for Descale Operator |
| --- |
| Printed Name | Signature |
| Title | Telephone No. ( ) - ext. |
| Mailing Address | 24-Hour Emergency Phone Number . ( ) - ext. |
| City, State , | Zip Code | Fax Number ( ) - |

B.	Tenant Safety Plan

Describe the procedures planned for notifying tenants of the descale event and communicating potential hazards related to descale operations. Submit supporting documentation including a copy of the tenant notification form and copies of notices used to warn tenants of the hazards. NOTE:  If a company document, such as a Standard Operating Procedure, already exists which meets these requirements, the document may be submitted as a Supporting Exhibit in lieu of filling out the information below.

C.	Operations Overview

Describe the typical methods of operation used for the descale process including the method of capture for all process wastes; the neutralization and transport of the captured wastes; verification procedures planned to ensure that proposed rinse waters will meet all City of Austin effluent limitations (attach additional sheets if necessary).  NOTE:  If a company document, such as a Standard Operating Procedure, already exists which meets these requirements, the document may be submitted as a Supporting Exhibit in lieu of filling out the information below.

D.	Non-Discharged Wastes

Except for the discharge of residual rinse waters generated at the descale site, the discharge to the sanitary sewer of any other solids, liquids, or sludges generated in conjunction with descale activities is strictly prohibited.

For each different solid, liquid, or sludge used or generated in conjunction with descale operations other than the residual rinse waters, describe in detail how the material is removed from the site, treated, stored, reclaimed and/or ultimately disposed of.   NOTE:  If a company document, such as a Standard Operating Procedure, already exists which meets these requirements, the document may be submitted as a Supporting Exhibit in lieu of filling out the information below.

E.	Spill Response and Accidental Discharge Procedures

Describe the procedures planned for response to spills and accidental discharges of pollutants. The procedures must include the structural means (spill containment devices) employed to ensure that the sanitary sewer, the potable water system, and the watershed will be protected from harmful exposures, spills, and accidental discharges of pollutants.  Additionally, the procedures must also include the process for immediate notification of internal parties (building/facilities manager or operator, internal spill response team) and external parties (Special Services Division, Watershed Protection, Fire Department, etc.) in the event of a spill or accidental discharge. The notification process must include names, telephone numbers, and a procedure for follow-up written notification to the Special Services Division within five days (attach additional sheets if necessary).  NOTE:  If a company document, such as a Standard Operating Procedure, already exists which meets these requirements, the document may be submitted as a Supporting Exhibit in lieu of filling out the information below.

F.	Supporting Exhibits

Attach the following exhibits and submit with the permit application:

Exhibit A:	Tenant Safety Notices: Submit supporting documentation including a copy of the tenant notification form and copies of notices used to warn tenants of the hazards.

Exhibit B:	Material Safety Data Sheets (MSDS): A MSDS must be submitted with this application for each chemical planned for use by the Descale Contractor during the descale operations.

Exhibit C:	Optional or Additional Document(s):  If a document, such as a company Standard Operating Procedure exists which encompasses the information requested in Sections B - D above, the document may be submitted as a Supporting Exibit in lieu of providing the information in the permit application.

G.	Compliance Certification

Certification Statement:

The Authorized Representative, as identified in Section A., must sign this statement.

I certify under penalty of law that this document and all attachments were prepared under my direction or supervision in accordance with a system designed to assure that qualified personnel properly gather and evaluate the information submitted. Based on my inquiry of the person or persons who manage the system, or those persons directly responsible for gathering the information, the information submitted is, to the best of my knowledge and belief, true, accurate, and complete. I am aware that there are significant penalties for submitting false information, including the possibility of fine and imprisonment for knowing violations.

Printed Name

Title

Signature		Date