Division 1	General Requirements

# Reference Standards And Definitions	Section 01095

DEFINITIONS

General:  Basic Contract definitions are included in the General Conditions, Section 00700 included herein.

Approved:  The term approved, when used in conjunction with the Owner's Representative's action on the CONTRACTOR'S submittals, applications, and requests, is limited to the Owner's Representative's duties and responsibilities as stated in the Conditions of the Contract.  A stamp reading "No Exceptions Taken" shall have the same intent as "Approved".

Furnish:  The term furnish means supply and deliver to the Project site, ready for unloading, unpacking, assembly, installation, and similar operations.

Indicated:  The term indicated refers to graphic representations, notes, or schedules on the Drawings, or other paragraphs or schedules in the Specifications, and similar requirements in the Contract Documents.  Terms such as shown, noted, scheduled, and specified are used to help the reader locate the reference.  There is no limitation on location.

Install:  The term install describes operations at the Project site including the actual unloading, unpacking, assembly, erecting, placing, anchoring, applying, working to dimension, finishing, curing, protecting, cleaning, and similar operations.

Installer:  An Installer is the CONTRACTOR or another entity engaged by the CONTRACTOR, either as an employee, subcontractor, or contractor of lower tier, to perform a particular construction activity, including installation, erection, application, and similar operations.  Installers are required to be experienced in operations they are engaged to perform.

Project Site:  The space available to the CONTRACTOR for performing construction  activities either exclusively or in conjunction with others performing other work as part of the Project.  The extent of the Project site is shown on the Drawings and may or may not be identical with the description of the land on which the Project is to be built.

Provide:  The term provide means to furnish and install, complete and ready for the intended use.

Regulations:  The term regulations includes laws, ordinances, statutes, and lawful orders issued by authorities having jurisdiction, as well as rules, conventions, and agreements within the construction industry that control performance of the Work.

Trades:  Using terms such as carpentry is not intended to imply that certain construction activities must be performed by accredited or unionized individuals of a corresponding generic name, such as carpenter.  It also does not imply that requirements specified apply exclusively to trades persons of the corresponding generic name.

INDUSTRY STANDARDS

Applicability of Standards:  Except where the Contract Documents include more stringent requirements, applicable construction industry standards have the same force and effect as if bound or copied directly into the Contract Documents to the extent referenced.  Such standards are made a part of the Contract Documents by reference.

Publication Dates:  Comply with the standards in effect as of the date of the Contract Documents.

Conflicting Requirements:  Where compliance with two or more standards is specified and where the standards may establish different or conflicting requirements for minimum quantities or quality levels, refer to the Owner's Representative for a decision before proceeding.

Copies of Standards:  Each entity engaged in construction on the Project is required to be familiar with industry standards applicable to its construction activity.  Copies of applicable standards are not bound with the Contract Documents.

Abbreviations and Names:  Trade association names, titles of general standards, and names and titles of government agencies are frequently abbreviated.  Where such acronyms or abbreviations are used in the Specifications or other Contract Documents, they mean the recognized name of the trade association, standards-generating organization, authority having jurisdiction, or other entity applicable to the context of the text provision.  Refer to the "Encyclopedia of Associations," published by Gale Research Co., available in most libraries.

AA  		Aluminum Association

AABC		Associated Air Balance Council

AAMA      	American Architectural Manufacturer's Association

AAN        	American Association of Nurserymen.

AASHTO    	American Association of State Highway and Transportation

Officials.

AATCC     	American Association of Textile Chemists and Colorists

ACI       	American Concrete Institute

ACIL      	American Council of Independent Laboratories

ACPA      	American Concrete Pipe Association

ADC       	Air Diffusion Council

AFBMA   	Anti-Friction Bearing Manufacturers Association

AGA       	American Gas Association

AGC       	Associated General Contractors of America

AGMA      	American Gear Manufacturers Association

AHA		American Hardboard Association

AHAM      	Association of Home Appliance Manufacturers

AI        		Asphalt Institute

AIA       		American Institute of Architects

AIHA		American Industrial Hygiene Association

AISC      	American Institute of Steel Construction

AISI      		American Iron and Steel Institute

AITC      	American Institute of Timber Construction.

ALCA		Associated Landscape Contractors of America

ALI		Associated Laboratories, Inc.

ALSC      	American Lumber Standards Committee

AMCA      	Air Movement and Control Association

ANSI      	American National Standards Institute.

AOAC		Association of Official Analytical Chemists

AOSA		Association of Official Seed Analysts

APA       	American Plywood Association

API       		American Petroleum Institute.

AREA      	American Railroad Engineers Association

ARI		Air Conditioning and Refrigeration Institute

ARMA		Asphalt Roofing Manufacturers Association

ASA		Acoustical Society of America

ASA       	American Standards Association.

ASC       	Adhesive and Sealant Council

ASCE      	American Society of Civil Engineers

ASHRAE    	American Society of Heating, Refrigerating & Air

Conditioning Engineers

ASME      	American Society of Mechanical Engineers

ASPE      	American Society of Plumbing Engineers

ASSE      	American Society of Sanitary Engineering

ASTM      	American Society for Testing and Materials.

AWCMA	American Window Covering Manufacturers Association

AWG       	American Wire Gage

AWI       	Architectural Woodwork Institute

AWPA      	American Wood Preservers Association

AWPB      	American Wood Preservers Bureau

AWPI      	American Wood Preservers Institute

AWS       	American Welding Society

AWWA      	American Water Works Association

BHMA      	Builders Hardware Manufacturers Association

BIA		Brick Institute of America

BIFMA		Business and Institutional Furniture Manufacturers Association

CAGI		Compressed Air and Gas Institute

CAUS		Color Association of the United States

CBM       	Certified Ballast Manufacturers

CCC		Carpet Cushion Council

CDA       	Copper Development Association

CE 		Corps of Engineers

CFR		Code of Federal Regulations

CGA       	Compressed Gas Association

CISCA		Ceiling and Interior Systems Construction Association

CISPI		Cast Iron Soil Pipe Institute

CPSC		Consumer Product Safety Commission

CRI       	Carpet and Rug Institute

CRSI      	Concrete Reinforcing Steel Institute

CS        	Commercial Standard of NBS (U.S. Dept. of Commerce)

CTI       		Ceramic Tile Institute

DFPA      	Douglas Fir Plywood Association

DHI       	Door and Hardware Institute

DLPA		Decorative Laminate Products Association

DOC		U.S. Department of Commerce

DOT		Department of Transportation

ECSA		Exchange Carriers Standards Association

EIA		Electronic Industries Association

EIMA		Exterior Insulation Manufacturers Association

EJMA		Expansion Joint Manufacturers Association

EPA		Environmental Protection Agency

FAA		Federal Aviation Administration

FCC		Federal Communications Commission

FGMA      	Flat Glass Marketing Association

FHA		Federal Housing Administration

FM        	Factory Mutual Research Organization

FS		Federal Specifications

FSC		Forest Stewardship Council

FTI		Facing Tile Institute

GA        	Gypsum Association

GSA       	General Services Administration

HEI		Heat Exchange Institute

HI		Hydronics Institute

H.I.		Hydraulic Institute

HMA		Hardwood Manufacturers Association

HPMA		Hardwood Plywood Manufacturers Association

IBD		Institute of Business Designers

ICEA		Insulated Cable Engineers Association, Inc.

IEEE      	Institute of Electrical and Electronic Engineers, Inc.

IESNA     	Illuminating Engineering Society of North American

IGCC      	Insulating Glass Certification Council

ILI		Indiana Limestone Institute of America

IMSA      	International Municipal Signal Association

IRI		Industrial Risk Insurers

ISA		Instrument Society of America

ITE       		Institute of Transportation Engineers

LEEDTM		Leadership in Energy and Environmental Design

LIA		Lead Industries Association, Inc.

LPI		Lightning Protection Institute

MBMA		Metal Building Manufacturer's Association

MCAA		Mechanical Contractors Association of America

MFMA		Maple Flooring Manufacturers' Association

MIA		Marble Institute of America

ML/SFA    	Metal Lath/Steel Framing Association

MSS       	Manufacturers Standardization Society of the Valve and

Fittings Industry

MUTCD     	Texas Department of Transportation Manual on Uniform Traffic Control Devices

NAAMM     	National Association of Architectural Metal

Manufacturers

NAIMA		North American Insulation Manufacturers Association

NAPA		National Asphalt Pavement Association

NBFU      	National Board of Fire Underwriters

NBGQA     	National Building Granite Quarries Association

NBS       	National Bureau of Standards (U.S. Dept. of Commerce)

NCMA		National Concrete Masonry Association

NCRPM	National Council on Radiation Protection and Measurements

NCSPA		National Corrugated Steel Pipe Association

NEC       	National Electrical Code (Published by NFPA)

NECA      	National Electrical Contractors Association

NEII		National Elevator Industry, Inc.

NEMA      	National Electrical Manufacturers Association

NETA		International Electrical Testing Association

N.F.P.A.      	National Forest Products Association

NFPA      	National Fire Protection Association

NHLA      	National Hardwood Lumber Association

NIST		National  Institute of Standards and Technology

NLGA		National Lumber Grades Authority

NOFMA	National Oak Flooring Manufacturers Association

NPA		National Particleboard Association

NPCA		National Paint and Coatings Association

NRCA      	National Roofing Contractors Association

NWMA      	National Woodwork Manufacturers Association

OSHA		Occupational Safety and Health Administration

PCA		Portland Cement Association

PCI		Precast/Prestressed Concrete Institute

PDI		Plumbing and Drainage Institute

PE		Professional Engineer

REA		Rural Electrification Administration

RFCI		Resilient Floor Covering Institute

RMA       	Rubber Manufacturing Association

RPLS		Registered Professional Land Surveyor

SDI		Steel Deck Institute

S.D.I.		Steel Door Institute

SFPA      	Southern Forest Products Association

SGCC		Safety Glazing Certification Council

SIGMA		Sealed Insulating Glass Manufacturers Association

SJI		Steel Joist Institute

SMACNA	Sheet Metal and Air Conditioning Contractors National Association

SPIB      	Southern Pine Inspection Bureau

SPRI		Single Ply Roofing Institute

SSPC		Steel  Structures Painting Council

SSPMA   	Sump and Sewage Pump Manufacturers Association

SWI		Steel Window Institute

SWPA		Submersible Wastewater Pump Association

TCA		Tile Council of America

TEX TEST  	TxDOT Laboratory Test

TIMA		Thermal Insulation Manufacturers Association

TPI		Truss Plate Institute

TxDOT  	Texas Department of Transportation

UL        		Underwriters Laboratory, Inc.

USDA		U. S. Department of Agriculture

USGBC		U. S. Green Building Council

USPS		U. S. Postal Service

WCLIB  	West Coast Lumber Inspection Bureau

WCMA  	Wallcovering Manufacturers Association

WIC		Woodwork Institute of California

WLPDIA	Western Lath, Plaster, Drywall Industries Association

WRI		Wire Reinforcement Institute

WSC		Water Systems Council

WSFI		Wood and Synthetic Flooring Institute

WWPA      	Western Wood Products Association

W.W.P.A.	Woven Wire Products Association

END