Division 1 General Requirements

CONSTRUCTION EQUIPMENT EMISSIONS REDUCTION PLAN

Section 01353

- GENERAL

  - RELATED DOCUMENTS

- This Section applies to Drawings and all provisions of Contract.

  - SUMMARY – CONSTRUCTION EQUIPMENT EMISSIONS PLAN

- The OWNER, as part of the Council Resolution No. 20100211-019, has decided to take steps to reduce emissions associated with construction process including Nitrogen Oxides (NOx), particulate matter and greenhouse gas.  Construction activity is a source of large quantities of particulate matter and ozone forming Nitrogen Oxides that adversely affect the health of our community and the natural environment.

- The CONTRACTOR shall employ practices and take actions that reduce emissions from NOx, particulate matter (black soot) and greenhouse gases resulting from activities associated with new construction and demolition Projects.

- The CONTRACTOR shall maximize the use of equipment and vehicles with advanced emission controls in support of the City’s goals, utilizing equipment that meets defined EPA emissions standards.

  - DEFINITIONS

- “Construction Equipment” means equipment powered by an internal combustion engine and used for performing or otherwise advancing the Work on the Project, other than motor vehicles intended for use on public highways and registered pursuant to Section 502.002 of the Texas Transportation Code.

B.	The list of applicable Construction Equipment includes, but is not limited to excavators, backhoes, loaders, bulldozers, graders, rock saws, generators, and other similar equipment.

C.	“EPA” means the United States Environmental Protection Agency.

D.	“Low-Use Equipment” means any piece of construction equipment which is used for less than ten (10) hours per week on site for a single construction	contract.

E.	“Greenhouse Gases” are emissions that absorb and emit radiation within the atmosphere. Greenhouse Gases can be one or a combination of, these gases: carbon dioxide, methane, nitrous oxide and three groups of fluorinated gases (sulfur hexafluoride, hydro fluorocarbons, and perfluorocarbons)

  - REQUIREMENTS – Not Used

  - SUBMITTALS

- CONSTRUCTION EQUIPMENT EMISSIONS REDUCTION PLAN:

- The CONTRACTOR agrees to prepare a draft Emissions Reduction Plan (referred to as PLAN) prior to start of construction. This PLAN shall include an inventory report containing identifying data for each piece of equipment to be used on the worksite and shall include the following:

- Vehicle/Equipment: Make & Model Year

- Vehicle/Equipment: Engine Make & Model Year

- Vehicle/Equipment: Fuel Type

- Vehicle/Equipment: Expected gallons or hours used for project duration

  - The OWNER will provide Emissions Reduction Toolkit to help the CONTRACTOR in preparation of the PLAN and inventory.

- The CONTRACTOR shall develop a list of strategies to be used in this Project in order to reduce emissions from NOx, particulate matter and greenhouse gas (CO2 equivalent). Once prepared, the agreed upon strategies shall be incorporated into the PLAN.  The PLAN will then be signed by the CONTRACTOR and made ready for implementation.  Implementation progress will be reviewed once a month in regularly scheduled project progress meetings. The PLAN may be modified during construction if changes are made to the Project, but adjustments shall be approved by the OWNER prior to implementation.

- This PLAN may be used by the Owner’s Representative or Inspector to conduct site inspections and/or verify compliance with specification elements.

- If additional equipment is brought on-site after construction begins, the Contractor shall provide this same inventory information to the Owner’s Representative for the new equipment on or before the day it begins work on-site.  All additional equipment shall conform to the PLAN.

- Reports shall be provided for all equipment used on-site.

- EQUIPMENT EMISSIONS CLOSEOUT DOCUMENTATION:

- Submit the following prior to final payment:

  - Record of changes made to the original PLAN and reasons.

  - Provide a summary and documentation of strategies used and estimated reductions in fuel & emissions.

  - Provide documentation of amount and % of alternative fuel used.

# PRODUCTS

Not used

# EXECUTION

## GeneraL

- Implement the submitted PLAN. Provide personnel, documentation, equipment, signage, transportation, and other items as required to implement the PLAN during the entire duration of the Contract.

## EQUIPMENT EMISSIONS Plan Implementation

- Plan Coordinator (Could be same as superintendent): Designate an on-site person responsible for instructing workers on the Owner’s intent to reduce emissions, overseeing implementation and documenting results of the PLAN for the Project.

- Plan Review: Review the PLAN in monthly progress meeting and include comments in the meeting notes.

- Instruction: Provide on-site instructions to all subcontractors of emissions reduction methods to be used by all parties for the appropriate activities of the Project.

- Discuss Owner’s goals and requirements at the following meetings:

  - Pre-bid conference.

  - Pre-construction conference.

  - Progress meetings (monthly).

3.3	EQUIPMENT EMISSIONS REDUCTION TOOLKIT

- Equipment Emissions Reduction Toolkit available at:

    - Website: (http://austintexas.gov/department/capital-improvement-program)

    - City of Austin Public Works Department, Project Management Division, One Texas Center, Suite 900

    - Construction Job Site Office (after contract award)

- Equipment Emissions Reduction Toolkit consists of:

  - A list of Construction Equipment Emissions Reduction Strategies

  - EPA fuel savings calculator by idling reductions

  - Posting of Anti-idling signs

  - Memorandum of Agreement by Local Area Governments

  - Equipment Inventory Form

## 3.4	A LIST OF Equipment EMISSIONS ReDUCTION STRATEGIES

The following are suggested emissions reduction strategies and references.  As per the specification section 01353, 1.5 Submittals, the CONTRACTOR shall develop a list of strategies to be used in this Project at the start of construction.

C-1 Anti-Idling Strategies:

- Implement and enforce anti-idling practices for all equipment and vehicles on and adjacent to the site and associated with the project.  City will provide a construction site sign and stickers for vehicles and equipment.  (http://www.engineoff.org/)

- Limit all idling of project associated vehicles and equipment operations to five (5) minutes unless the idling is applicable to one or more of the following exceptions:

#### Idling is being used for emergency response purposes;

### Idling is necessary for component of mechanical operation, maintenance, or diagnostic purposes; or

### Idling is for the health or safety of the equipment operator.

### Provide education to all staff, vendors and subcontractors about emissions hazards and anti-idling practices and encourage use of EPA calculator for fuel savings.

### To the extent possible, do not stop or idle haulage trucks directly under tree limbs and foliage overhanging the street along the haul route. Further avoid such damage from truck exhaust by means of exhaust diversion devices to redirect or diffuse exhaust from being directed in a concentrated manner to tree limbs and foliage.

### Avoid vehicle loitering or queuing outside or inside the gates of the work area to minimize degradation of localized air quality.

(http://data.capcog.org/air-quality/engineoff/AntiIdlingBrochure(2).pdf)

(http://data.capcog.org/air-quality/engineoff/template-1/HowtoOrderSign.html)

(http://data.capcog.org/air-quality/engineoff/smartwaycalculator.xls)

(http://austintexas.gov/airquality/)

C-2 Alternative Fuels:

  - Utilize alternative fuels including, Texas LED Compliant B20 (or higher) biodiesel, Compressed Natural Gas (CNG), propane and electric. (Refer to EPA Energy Policy Act for full list).

  - Avoid unnecessary fuel use by providing on-site fuelling for alternate fuels.

(http://www.tceq.texas.gov/airquality/mobilesource/txled/cleandiesel.html)

(http://www.eere.energy.gov/cleancities)

(http://lonestarcfa.org)

C-3 Vehicle/Equipment Improvements:

  - Eliminate use of vehicles in tier 0 and 1 categories per EPA and rent or purchase tier 2 and 3 or (4) compliant vehicles.

  - It is recommended that CONTRACTOR takes advantage of the Texas Emission Reduction Plan (TERP) grant incentives to upgrade (replace or repower) vehicles with    retrofitted emission reduction technologies. 	                                 (http://www.tceq.texas.gov/airquality/terp/index.html) or (www.terpgrants.com)

  - Utilize battery powered and/or solar powered equipment where available. This strategy can be combined with anti-idling strategies by using this technology for sign boards. (evtransportal.org/dieselengineidlereduction.pdf)

C-4 Maintenance Program:

  - Establish a preventative maintenance program addressing issues including but not limited to, fuel use, air emissions, tire pressure, smoke from exhaust and noise.

  - Make all efforts to prevent oil/fuel spillage on to site surfaces.

C-5 Resource Management:

  - Utilize equipment companies that are located closest to the construction site.

  - Store equipment on site during construction use or arrange for closest overnight storage including temporary use of the Right of Way if possible.

  - To the extent possible, CONTRACTOR shall maximize use of local and regional materials to reduce transportation emissions.

  - CONTRACTOR shall maximize salvage and reuse of appropriate on-site materials.  (http://www.usgbc.org/ShowFile.aspx?DocumentID=1095)

  - To the greatest extent possible, stage equipment and vehicles away from, and minimize operation near, sensitive receptors including, but not limited to, operable windows, fresh air intakes, hospitals, schools, licensed day care facilities, residences and areas where people congregate.

## END