Wastewater Discharge Permit Application

For Remediation Projects

This application is required in conjunction with any proposed discharge of industrial wastewater to the City of Austin’s (City) sanitary sewer system from remediation projects. All sections of this application must be completed before it will be accepted by the City of Austin. Unauthorized revisions to or modifications of this form may invalidate the application.

Wastewater Discharge Permits for remediation project activities may be issued on a temporary basis for up to two years as the applicant pursues a stormwater discharge permit.  In such cases where an applicant has unsuccessfully exhausted all efforts to obtain a stormwater permit, consideration will be granted for a Wastewater Discharge Permit extending beyond the subscribed two year temporary period.

For assistance, call the Office of Industrial Waste Monday-Friday between 7:30 AM and 4:00 PM at (512) 972-1060. This application is available on the Austin Water Utility web site at: www.austintexas.gov/department/industrial-waste-control-pretreatment

Table of Contents

Section	Page

A.	Identifying Information	2

B.	General Information	3

C.	Remediation Activity Overview	4

D.	Sewer Information	5

E.	Wastewater Discharge Information	6

F.	Characteristics of Discharge	8

G.	Treatment	19

H.	Non-Discharged Wastes	20

I.	Supporting Exhibits	21

J.	Compliance Certification	22

Mail completed application to:	City of Austin / Austin Water Utility

Special Services Division / Office of Industrial Waste

3907 S. Industrial Drive, Suite 100

Austin, TX 78744-1070

A.	Identifying Information

| Operator Information (operates the facility described in the application) |
| --- |
| Name (legal name of person, company or entity) | Title (if applicable) |
| Address of Site Discharging Wastewater | Business Mailing Address |
| Site Address , |  | Mailing Address , |  |
| City, State | Zip Code | City, State | Zip Code |

| Owner Information (owns the facility described in the application) |
| --- |
| Name (legal name of person, company or entity) | Title (if applicable) ( ) - ext. |
| E-mail Address | Telephone No. ( ) - ext. |
| Mailing Address , |  | 24-Hour Emergency Phone Number ( ) - |
| City, State | Zip Code | Fax Number |

| Contact Information |
| --- |
| Name (person) | Title ( ) - ext. |
| E-mail Address | Telephone No. ( ) - ext. |
| Mailing Address , |  | 24-Hour Emergency Phone Number ( ) - |
| City, State | Zip Code | Fax Number |

# If the operator is not the owner of the facility, submit a copy of the contract and/or other documents indicating the operator’s scope of responsibility for the facility and attach to this application as Exhibit D.

B.	General Information

1.	Indicate pertinent identification numbers and permits (indicate NA for those fields that may not be applicable). Attach additional sheets if necessary:

| Primary Standard Industrial Classification (SIC): |  |
| --- | --- |
| Secondary Standard Industrial Classification (SIC): |  |
| Water Source (i.e. private well, municipal water utility, etc.): |  |
| Water Service Provider: |  |
| Wastewater Service Provider: |  |
| Wastewater Service Acct. Number: |  |
| Water Meter Number(s): |  |
| City of Austin Wastewater Discharge Permit: | Permit No. |
| Other Environmental Control Permits Issued for the Applicant Site |
| Underground Injection Control: | Permit No. |
| Dredge & Fill Permit (under §404 of the Clean Water Act): | Permit No. |
| Resource Conservation & Recovery Act (RCRA): | Permit No. |
| TCEQ Air Emissions Permit: | Permit No. |
| TCEQ Notice of Registration: | Permit No. |
| TCEQ Stormwater Permit: | Permit No. |
| City of Austin Stormwater Permit: | Permit No. |
| City of Austin Hazardous Materials Permit: | Permit No. |
| Other: | Permit No. |
| Other: | Permit No. |

2.	Identify an authorized representative and, if applicable, a duly authorized representative as the designated signatory authority of the facility.

The authorized representative may be:

- A responsible corporate officer, if the industrial user submitting the reports required by this permit is a corporation.  For the purposes of this section, a responsible corporate officer means:

- A president, secretary, treasurer, or vice president of the corporation in charge of a principal business function, or any other person who performs similar policy- or decision-making functions for the corporation; or

- The manager of one or more manufacturing, production, or operation facilities employing more than 250 persons or having gross annual sales or expenditures exceeding $25 million (in second-quarter 1980 dollars), if authority to sign documents has been assigned to the manager in accordance with corporate procedures.

- A general partner or proprietor, if the industrial user submitting reports required by this permit is a partnership or sole proprietorship, respectively.

- By the director or highest official appointed or designated to oversee the operations of the facility, if the industrial user submitting reports required by this permit is a federal, state or local government entity or other institutional organization (e.g. churches, schools, non-profit agencies…etc.).

The duly authorized representative may be a person specified by the authorized representative identified below if the specified person holds a position with responsibility for the overall operation of the facility from which the industrial discharge originates, such as the position of plant manager, operator of a well, or well field superintendent, or a position of equivalent responsibility, or having overall responsibility for environmental matters for the company.

| Authorized Representative |
| --- |
| Printed Name | Signature ( ) - ext. |
| Title | Telephone No. ( ) - ext. |
| Mailing Address , |  | 24-Hour Emergency Phone Number ( ) - |
| City, State | Zip Code | Fax Number |

| Duly Authorized Representative |
| --- |
| Printed Name | Signature ( ) - ext. |
| Title | Telephone No. ( ) - ext. |
| Mailing Address , |  | 24-Hour Emergency Phone Number ( ) - |
| City, State | Zip Code | Fax Number |

C.	Remediation Activity Overview

1.	Describe the circumstances leading to the need to conduct remediation activities. Include descriptions of the source of the contamination (i.e. broken pipe, leaking tank, etc.), the type of product(s) or wastes to be recovered (diesel, leaded or unleaded gasoline, solvent, unknown, etc.), and the measures planned or taken to correct the situation (tank removal, repair, etc.).  Attach additional sheets as necessary:

2.	What is the estimated volume of waste or product lost?

3.	What is the total volume of waste or product that is expected to be recovered?

4.	Describe what will happen to the recovered waste, fuel, product or other contaminant (reprocessing, hazardous disposal, etc.):

5.	Describe the quantity, the type and the maximum flow rate of each recovery well that will be used:

6.	What is the estimated length of time the operation will be in place?

D.	Sewer Information

- Indicate all wastewater disposal methods employed or proposed (check all that apply):

| Type of Discharge | Average Discharge Flow (GPD) | Estimated or Measured? (E or M?) |
| --- | --- | --- |
| Sanitary Sewer |  |  |
| Storm Sewer |  |  |
| Surface Water |  |  |
| Ground Water |  |  |
| Septic Tank |  |  |
| Waste Haulers |  |  |
| Others |  |  |  |
| Grand Total |  |  |

2.	List size, location of connection, and estimated flow of each wastewater service connection to the City of Austin sanitary sewer system.  (If more than four, attach additional information on another sheet):

| Sewer Size (inches) | Descriptive Location of Sewer Connection or Discharge Point | Average Discharge Flow (GPD) |
| --- | --- | --- |

E.	Wastewater Discharge Information

1.	Provide the following information on wastewater discharges from remediation activities (new facilities may estimate).

|  | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Holiday |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Average Discharge Duration (Number of Hours per Day) |  |  |  |  |  |  |  |  |
| Maximum Discharge Duration (Number of Hours per Day) |  |  |  |  |  |  |  |  |
| Wastewater Discharge Start Time |  |  |  |  |  |  |  |  |
| Wastewater Discharge End-Time |  |  |  |  |  |  |  |  |

Proposed duration of wastewater discharge permit:

Number of days per year on which process discharge occurs or will occur:

Peak Hourly Flow Rate (GPM):

Maximum Daily Flow Rate (GPD):

2.	Does or will the facility discharge from remediation activities throughout the year?

Yes	 No

If no, indicate below the months of the year during which discharge occurs:

3.	Will the discharge from remediation activities stop for vacation, maintenance, or other reasons?

Yes	 No

If yes, indicate the reasons and periods when shutdown occurs:

4.	Provide the following information specific to batch discharges (batch discharges are intentional, controlled discharges that occur as the result of non-continuous operations) if they occur or will occur. New facilities may use estimates:

Number of batch discharges per day:

Average discharge volume per batch (gallons):

Discharge times (day(s) of the week & hours of the day):

Flow rate (gpm):

Percent of total discharge (volume of daily batch discharges ÷ total daily discharge):

5.   Indicate the presence or planned installation of the following equipment at the facility.

|  | Flow Metering Equipment | Sampling Equipment |
| --- | --- | --- |
| Is this equipment currently in place? | Yes No | Yes No |
| Will this equipment be installed? | Yes No | Yes No |

If applicable, indicate the present or future location of this equipment on Exhibit A and describe the model and type of equipment below along with planned installation date.  Also identify the minimum and maximum flow measurement capability for this equipment:

6.	Is there any bulk storage of diesel fuel, gasoline, solvents or other hazardous materials on site?

Yes	 No

All applicants are required to prepare a Slug Control Plan and attach it to this application as Exhibit C. In this plan, describe any measures taken to prevent the reoccurrence of any previous spills or releases as well as those measures being employed to prevent any slug discharge of any pollutants stored at the site. For guidance material relating to Slug Control Plan requirements and preparation guidelines, connect to the utility’s website at the following address: www.austintexas.gov/sites/default/files/files/Water/SSD/Pretreatment/wwwssd_iw_scpreq.pdf

F.	Characteristics of Discharge

The purpose of this section is to determine: if any wastestreams require pretreatment; if existing or proposed pretreatment systems are adequate; and if the proposed discharge to the sanitary sewer will be permissible. In order to allow this determination, effluent quality data for each existing or proposed connection to the City of Austin sanitary sewer system must be entered for each pollutant listed in the proceeding Pollutant Data Sheet Table and each pollutant or characteristic listed in the Hazardous Pollutants and Waste Characteristics Table.  Information regarding the absence or presence of the pollutants listed on a third table— Other Toxic Pollutants & Hazardous Substances Table, must be included as well.

Those significant industrial users currently operating under a valid City of Austin Wastewater Discharge Permit may reference a recent self-monitoring report in lieu of completing the Pollutant Data Sheet Table, Hazardous Pollutants and Waste Characteristics Table and the Other Toxic Pollutants & Hazardous Substances Table if each of the following five conditions is met:

- The referenced report contains analytical results that are representative of proposed discharges;

- The referenced report includes data for each pollutant that could reasonably be expected to be present in the discharge;

- The data referenced in the report is less than three years old;

- Current plans do not include changes to existing processes; AND

- Current plans do not include the addition of new processes.

Reference the self-monitoring report submitted on [date(s)]:

1.	Instructions for completing the Pollutant Data Sheet Table:

Analytical data for each end-of-pipe outfall must be provided for each pollutant listed in this table. If more than one end-of-pipe outfall is proposed or exists, make copies of this table and attach the completed tables to the application.  All available analytical data for each outfall should be used in the completion of this table.  All wastewater analytical data included in the Pollutant Data Sheet Table must be based on 40 CFR Part 136 approved test methods. Applicable effluent limitations for these pollutants may be found on the utility’s website at the following address: http://www.ci.austin.tx.us/water/wwwssd_iw_wrppm.htm

2.	Instructions for completing the Hazardous Pollutants and Waste Characteristics Table:

Analytical data for each end-of-pipe outfall must be provided for each pollutant listed in this table. If more than one end-of-pipe outfall is proposed or exists, make copies of this table and attach the completed tables to the application.  All available analytical data for each outfall should be used in the completion of this table.  All wastewater analytical data included in the Hazardous Pollutants and Waste Characteristics Table must be based on 40 CFR Part 136 approved test methods or performed in accordance with the techniques prescribed in EPA's  "Test Methods for Evaluating Solid Waste, Physical/Chemical Methods" when no 40 CFR 136 methods are available. Applicable effluent limitations are referenced in the table.

3.	Instructions for completing the Other Toxic Pollutants & Hazardous Substances Table:

The applicant must indicate which of the following pollutants in the Other Toxic Pollutants & Hazardous Substances Table could reasonably be expected to be present in the discharge by marking the appropriate boxes in the table. If more than one end-of-pipe outfall is proposed or exists, make copies of this table and attach the completed tables to the application. Sample data must be provided for any of those pollutants that could reasonably be expected to be present in the discharge. All available analytical data for each outfall should be used in the completion of this table. All wastewater analytical data included in the Other Toxic Pollutants & Hazardous Substances Table should be based on 40 CFR Part 136 approved test methods where such methods for the listed pollutants have been published.

Pollutant Data Sheet

End-of-Pipe Sampling Location (Outfall ID):

| Pollutant | Method ID | Detection Level Used | Number of Analyses | Maximum Daily Value | Average of Analyses | Units |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Conc. | Mass | Conc. | Mass | Conc. | Mass |
| Acenaphthene |  |  |  |  |  |  |  |  |  |
| Acenaphthylene |  |  |  |  |  |  |  |  |  |
| Acrolein |  |  |  |  |  |  |  |  |  |
| Acrylonitrile |  |  |  |  |  |  |  |  |  |
| Aldrin |  |  |  |  |  |  |  |  |  |
| Anthracene |  |  |  |  |  |  |  |  |  |
| Benzene |  |  |  |  |  |  |  |  |  |
| Benzidine |  |  |  |  |  |  |  |  |  |
| Benzo (a) anthracene |  |  |  |  |  |  |  |  |  |
| Benzo (a) pyrene |  |  |  |  |  |  |  |  |  |
| Benzo (b) fluoranthcene |  |  |  |  |  |  |  |  |  |
| Benzo (g, h, i) perylene |  |  |  |  |  |  |  |  |  |
| Benzo (k) fluoroanthene |  |  |  |  |  |  |  |  |  |
| Alpha-BHC |  |  |  |  |  |  |  |  |  |
| Beta-BHC |  |  |  |  |  |  |  |  |  |
| Delta-BHC |  |  |  |  |  |  |  |  |  |
| Gamma-BHC |  |  |  |  |  |  |  |  |  |
| Bis (2-chloroethyl) ether |  |  |  |  |  |  |  |  |  |
| Bis (2-chloroethoxy) methane |  |  |  |  |  |  |  |  |  |
| Bis (2-chloroisopropyl) ether |  |  |  |  |  |  |  |  |  |
| Bis (2-ethylhexyl) phthalate |  |  |  |  |  |  |  |  |  |
| Bromodichloromethane |  |  |  |  |  |  |  |  |  |
| Bromoform |  |  |  |  |  |  |  |  |  |
| Bromomethane |  |  |  |  |  |  |  |  |  |
| 4-Bromophenylphenyether |  |  |  |  |  |  |  |  |  |
| Butylbenzyl phthalate |  |  |  |  |  |  |  |  |  |
| Carbon tetrachloride |  |  |  |  |  |  |  |  |  |
| Chlordane |  |  |  |  |  |  |  |  |  |

Pollutant Data Sheet (continued)

End-of-Pipe Sampling Location (Outfall ID):

| Pollutant | Method ID | Detection Level Used | Number of Analyses | Maximum Daily Value | Average of Analyses | Units |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Conc. | Mass | Conc. | Mass | Conc. | Mass |
| 4-Chloro-3-methylphenol |  |  |  |  |  |  |  |  |  |
| Chlorobenzene |  |  |  |  |  |  |  |  |  |
| Chloroethane |  |  |  |  |  |  |  |  |  |
| 2-Chloroethylvinyl ether |  |  |  |  |  |  |  |  |  |
| Chloroform |  |  |  |  |  |  |  |  |  |
| Chloromethane |  |  |  |  |  |  |  |  |  |
| 2-Chloronaphthalene |  |  |  |  |  |  |  |  |  |
| 2-Chlorophenol |  |  |  |  |  |  |  |  |  |
| 4-Chlorophyenyl-phenylether |  |  |  |  |  |  |  |  |  |
| Chrysene |  |  |  |  |  |  |  |  |  |
| 4,4;-DDD |  |  |  |  |  |  |  |  |  |
| 4,4’-DDE |  |  |  |  |  |  |  |  |  |
| 4,4’-DDT |  |  |  |  |  |  |  |  |  |
| Dibenzo (a,h) anthracene |  |  |  |  |  |  |  |  |  |
| Dibromochloromethane |  |  |  |  |  |  |  |  |  |
| 1,2-Dichlorobenzene |  |  |  |  |  |  |  |  |  |
| 1,3-Dichlorobenzene |  |  |  |  |  |  |  |  |  |
| 1,4-Dichlorobenzene |  |  |  |  |  |  |  |  |  |
| 3,3’-Dichlorobenzidine |  |  |  |  |  |  |  |  |  |
| 1,1-Dichloroethane |  |  |  |  |  |  |  |  |  |
| 1,2-Dichloroethane |  |  |  |  |  |  |  |  |  |
| 1,1-Dichloroethene |  |  |  |  |  |  |  |  |  |
| Trans-1,2-dichloroethene |  |  |  |  |  |  |  |  |  |
| 2,4-Dichlorophenol |  |  |  |  |  |  |  |  |  |
| 1,2-Dichloropropane |  |  |  |  |  |  |  |  |  |
| Cis-1,3-Dichloropropene |  |  |  |  |  |  |  |  |  |
| Trans- 1,3-Dichloropropene |  |  |  |  |  |  |  |  |  |
| Dieldrin |  |  |  |  |  |  |  |  |  |

Pollutant Data Sheet (continued)

End-of-Pipe Sampling Location (Outfall ID):

| Pollutant | Method ID | Detection Level Used | Number of Analyses | Maximum Daily Value | Average of Analyses | Units |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Conc. | Mass | Conc. | Mass | Conc. | Mass |
| Diethyl Phthalate |  |  |  |  |  |  |  |  |  |
| 2,4-Dimethyphenol |  |  |  |  |  |  |  |  |  |
| Dimethyl Phthalate |  |  |  |  |  |  |  |  |  |
| Di-n-butylphthalate |  |  |  |  |  |  |  |  |  |
| Di-n-octylphthalate |  |  |  |  |  |  |  |  |  |
| 4,6-Dinitro-2-methylphenol |  |  |  |  |  |  |  |  |  |
| 2,4-Dinitrophenol |  |  |  |  |  |  |  |  |  |
| 2,4-Dinitrotoluene |  |  |  |  |  |  |  |  |  |
| 2,6-Dinitroltoluene |  |  |  |  |  |  |  |  |  |
| 1,2-Diphenylhydrazine |  |  |  |  |  |  |  |  |  |
| Alpha-Endosulfan |  |  |  |  |  |  |  |  |  |
| Beta-Endosulfan |  |  |  |  |  |  |  |  |  |
| Endosulfan Sulfate |  |  |  |  |  |  |  |  |  |
| Endrin |  |  |  |  |  |  |  |  |  |
| Endrin aldehyde |  |  |  |  |  |  |  |  |  |
| Ethylbenzene |  |  |  |  |  |  |  |  |  |
| Fluoranthene |  |  |  |  |  |  |  |  |  |
| Fluorene |  |  |  |  |  |  |  |  |  |
| Heptachlor |  |  |  |  |  |  |  |  |  |
| Heptachlor epoxide |  |  |  |  |  |  |  |  |  |
| Hexachlorobenzene |  |  |  |  |  |  |  |  |  |
| Hexachlorobutadiene |  |  |  |  |  |  |  |  |  |
| Hexachloro-cyclopentadiene |  |  |  |  |  |  |  |  |  |
| Hexachloroethane |  |  |  |  |  |  |  |  |  |
| Indeno (1,2,3-cd) pyrene |  |  |  |  |  |  |  |  |  |
| Isophorone |  |  |  |  |  |  |  |  |  |
| Methylene Chloride |  |  |  |  |  |  |  |  |  |
| Naphthalene |  |  |  |  |  |  |  |  |  |

Pollutant Data Sheet (continued)

End-of-Pipe Sampling Location (Outfall ID):

| Pollutant | Method ID | Detection Level Used | Number of Analyses | Maximum Daily Value | Average of Analyses | Units |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Conc. | Mass | Conc. | Mass | Conc. | Mass |
| Nitrobenzene |  |  |  |  |  |  |  |  |  |
| 2-Nitrophenol |  |  |  |  |  |  |  |  |  |
| 4-Nitrhophenol |  |  |  |  |  |  |  |  |  |
| N-Nitrosodimethylamine |  |  |  |  |  |  |  |  |  |
| N-Nitrosodi-n-propylamine |  |  |  |  |  |  |  |  |  |
| N-Nitrosodiphenylamine |  |  |  |  |  |  |  |  |  |
| PCB-1016 |  |  |  |  |  |  |  |  |  |
| PCB-1221 |  |  |  |  |  |  |  |  |  |
| PCB-1232 |  |  |  |  |  |  |  |  |  |
| PCB-1242 |  |  |  |  |  |  |  |  |  |
| PCB-1248 |  |  |  |  |  |  |  |  |  |
| PCB-1254 |  |  |  |  |  |  |  |  |  |
| PCB-1260 |  |  |  |  |  |  |  |  |  |
| Pentachlorophenol |  |  |  |  |  |  |  |  |  |
| Phenanthrene |  |  |  |  |  |  |  |  |  |
| Phenol |  |  |  |  |  |  |  |  |  |
| Pyrene |  |  |  |  |  |  |  |  |  |
| 1,1,2,2-Tetrachloroethane |  |  |  |  |  |  |  |  |  |
| Tetrachloroethene |  |  |  |  |  |  |  |  |  |
| Toluene |  |  |  |  |  |  |  |  |  |
| Toxaphene |  |  |  |  |  |  |  |  |  |
| 1,2,4-Trichlorobenzene |  |  |  |  |  |  |  |  |  |
| 1,1,1-Trichloroethane |  |  |  |  |  |  |  |  |  |
| 1,1,2-Trichloroethane |  |  |  |  |  |  |  |  |  |
| Trichloroethene |  |  |  |  |  |  |  |  |  |
| 2,4,6-Trichlorophenol |  |  |  |  |  |  |  |  |  |
| Vinyl Chloride |  |  |  |  |  |  |  |  |  |

Pollutant Data Sheet (continued)

End-of-Pipe Sampling Location (Outfall ID):

| Pollutant | Method ID | Detection Level Used | Number of Analyses | Maximum Daily Value | Average of Analyses | Units |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Conc. | Mass | Conc. | Mass | Conc. | Mass |
| pH |  |  |  |  |  |  |  |  |  |
| Aluminum |  |  |  |  |  |  |  |  |  |
| Antimony |  |  |  |  |  |  |  |  |  |
| Arsenic |  |  |  |  |  |  |  |  |  |
| Barium |  |  |  |  |  |  |  |  |  |
| Boron |  |  |  |  |  |  |  |  |  |
| Cadmium |  |  |  |  |  |  |  |  |  |
| Chloride |  |  |  |  |  |  |  |  |  |
| Chromium |  |  |  |  |  |  |  |  |  |
| Copper |  |  |  |  |  |  |  |  |  |
| Cyanide |  |  |  |  |  |  |  |  |  |
| Fats, Oils, & Greases (FOG) |  |  |  |  |  |  |  |  |  |
| Fluoride |  |  |  |  |  |  |  |  |  |
| Lead |  |  |  |  |  |  |  |  |  |
| Manganese |  |  |  |  |  |  |  |  |  |
| Mercury |  |  |  |  |  |  |  |  |  |
| Molybdenum |  |  |  |  |  |  |  |  |  |
| Nickel |  |  |  |  |  |  |  |  |  |
| Phosphorous |  |  |  |  |  |  |  |  |  |
| Phosphate |  |  |  |  |  |  |  |  |  |
| Selenium |  |  |  |  |  |  |  |  |  |
| Silver |  |  |  |  |  |  |  |  |  |
| Sulfate |  |  |  |  |  |  |  |  |  |
| Thallium |  |  |  |  |  |  |  |  |  |
| Total Dissolved Solids |  |  |  |  |  |  |  |  |  |
| Zinc |  |  |  |  |  |  |  |  |  |

Hazardous Pollutants and Waste Characteristics Table

End-of-Pipe Sampling Location (Outfall ID):

| Pollutant | Method ID | Detection Level Used | Discharge Limitation | Results of Analyses | Units |
| --- | --- | --- | --- | --- | --- |
| Total Petroleum Hydrocarbons (TPH) |  |  | 15 mg/L |  |  |
| Total Lead |  |  | 0.25 mg/L |  |  |
| Benzene |  |  | 0.05 mg/L |  |  |
| Benzene, Toluene, Ethylbenzene & Xylene (BTEX) |  |  | 0.5 mg/L |  |  |
| Polynuclear Aromatic Hydrocarbons (1) |  |  | 0.01 mg/L |  |  |
| Flash Point (closed cup) |  |  | <140 degrees F |  |  |
| Lower Explosive Limit (LEL) |  |  | < 5.0 % |  |  |
| Ignitability |  |  | Non-ignitable |  |  |
| Corrosivity |  |  | Non-corrosive |  |  |
| Reactivity |  |  | Non-reactive |  |  |
| Toxicity Characteristic Leaching Procedure (TCLP) |  |  | Non-hazardous |  |  |
| TCLP Pollutant | EPA HW No. | CAS No. (2) |  |  | Toxicity Level |  |  |
| Arsenic | D004 | 7440-38-2 |  |  | 5.0 mg/L |  |  |
| Barium | D005 | 7440-39-3 |  |  | 100.0 mg/L |  |  |
| Benzene | D018 | 71-43-2 |  |  | 0.5 mg/L |  |  |
| Cadmium | D006 | 7440-43-9 |  |  | 1.0 mg/L |  |  |
| Carbon tetrachloride | D019 | 56-23-5 |  |  | 0.5 mg/L |  |  |
| Chlordane | D020 | 57-74-9 |  |  | 0.03 mg/L |  |  |
| Chlorobenzene | D021 | 108-90-7 |  |  | 100.0 mg/L |  |  |
| Chloroform | D022 | 75-66-3 |  |  | 6.0 mg/L |  |  |
| Chromium | D007 | 7440-47-3 |  |  | 5.0 mg/L |  |  |
| o-Cresol | D023 | 95-48-7 |  |  | 200.0 mg/L (3) |  |  |
| m-Cresol | D024 | 108-39-4 |  |  | 200.0 mg/L (3) |  |  |
| p-Cresol | D025 | 106-44-5 |  |  | 200.0 mg/L (3) |  |  |
| Cresol | D026 |  |  |  | 200.0 mg/L (3) |  |  |
| 2,4-D | D016 | 94-75-7 |  |  | 10.0 mg/L |  |  |
| 1,4-Dichlorobenzene | D027 | 106-46-7 |  |  | 7.5 mg/L |  |  |
| 1,2-Dichloroethane | D028 | 107-06-2 |  |  | 0.5 mg/L |  |  |
| 1,1-Dichloroethylene | D029 | 75-35-4 |  |  | 0.7 mg/L |  |  |

Hazardous Pollutants and Waste Characteristics Table (continued)

End-of-Pipe Sampling Location (Outfall ID):

| TCLP Pollutant | EPA HW No. | CAS No. (2) | Method ID | Detection Level Used | Toxicity Level | Results of Analyses | Units |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 2,4-Dinitrotoluene | D030 | 121-14-2 |  |  | 0.13 mg/L (4) |  |  |
| Endrin | D012 | 72-20-8 |  |  | 0.02 mg/L |  |  |
| Heptachlor (& its epoxide) | D031 | 76-44-8 |  |  | 0.008 mg/L |  |  |
| Hexachlorobenzene | D032 | 118-74-1 |  |  | 0.13 mg/L (4) |  |  |
| Hexachlorobutadiene | D033 | 87-68-3 |  |  | 0.5 mg/L |  |  |
| Hexachloroethane | D034 | 67-72-1 |  |  | 3.0 mg/L |  |  |
| Lead | D008 | 7439-92-1 |  |  | 5.0 mg/L |  |  |
| Lindane | D013 | 58-89-9 |  |  | 0.4 mg/L |  |  |
| Mercury | D009 | 7439-97-6 |  |  | 0.2 mg/L |  |  |
| Methoxychlor | D014 | 72-43-5 |  |  | 10.0 mg/L |  |  |
| Methyl ethyl ketone | D035 | 78-93-3 |  |  | 200.0 mg/L |  |  |
| Nitrobenzene | D036 | 98-95-3 |  |  | 2.0 mg/L |  |  |
| Pentachlorophenol | D037 | 87-86-5 |  |  | 100.0 mg/L |  |  |
| Pyridine | D038 | 110-86-1 |  |  | 5.0 mg/L (4) |  |  |
| Selenium | D010 | 7782-49-2 |  |  | 1.0 mg/L |  |  |
| Silver | D011 | 7440-22-4 |  |  | 5.0 mg/L |  |  |
| Tetrachloroethylene | D039 | 127-18-4 |  |  | 0.7 mg/L |  |  |
| Toxaphene | D015 | 8001-35-2 |  |  | 0.5 mg/L |  |  |
| Trichloroethylene | D040 | 79-01-6 |  |  | 0.5 mg/L |  |  |
| 2,4,5-Trichlorophenol | D041 | 95-95-4 |  |  | 400.0 mg/L |  |  |
| 2,4,6-Trichlorophenol | D042 | 88-06-2 |  |  | 2.0 mg/L |  |  |
| 2,4,5,TP (Silvex) | D017 | 93-72-1 |  |  | 1.0 mg/L |  |  |
| Vinyl Chloride | D043 | 75-01-4 |  |  | 0.2 mg/L |  |  |

Hazardous Pollutants and Waste Characteristics Table Notes:

1.	Polynuclear Aromatic Hydrocarbons is the total concentration of acenaphthene, acenaphthylene, anthracene, benzo(a)anthracene, benzo(b)fluoranthene, benzo(k)fluoranthene, benzo(ghi)perylene, benzo(a)pyrene, chrysene, dibenzo(a,h)anthracene, fluoranthene, fluorene, indeno(1,2,3-cd)pyrene), naphthalene, phenanthrene and pyrene.

2.	The CAS No. is the chemical abstracts service number

3.	If o-, m-, and p-cresol concentrations cannot be differentiated, use the total cresol concentration. The total cresol discharge limit is 200 mg/L.

4.	For these pollutants the quantification limits are greater than the discharge limits.  Therefore the quantification limits are the discharge limits.

Other Toxic Pollutants & Hazardous Substances Table

End-of-Pipe Sampling Location (Outfall ID):

| Pollutant | Reasonable Expectation of Presence in the Discharge? | Method ID | Results of Analyses | Units |
| --- | --- | --- | --- | --- |
| Asbestos | Yes No |  |  |  |
| Acetaldehyde | Yes No |  |  |  |
| Ally alcohol | Yes No |  |  |  |
| Allyl chloride | Yes No |  |  |  |
| Amyl acetate | Yes No |  |  |  |
| Aniline | Yes No |  |  |  |
| Benzonitrile | Yes No |  |  |  |
| Benzyl chloride | Yes No |  |  |  |
| Butyl acetate | Yes No |  |  |  |
| Butylamine | Yes No |  |  |  |
| Captan | Yes No |  |  |  |
| Carbaryl | Yes No |  |  |  |
| Carbofuran | Yes No |  |  |  |
| Carbon disulfide | Yes No |  |  |  |
| Chlorphyrifros | Yes No |  |  |  |
| Coumaphos | Yes No |  |  |  |
| Cresol | Yes No |  |  |  |
| Crotonaldehyde | Yes No |  |  |  |
| Cyclohexane | Yes No |  |  |  |
| 2,4-D (2,4-Dichlorophenoxy acetic acid) | Yes No |  |  |  |
| Diazinon | Yes No |  |  |  |
| Dicamba | Yes No |  |  |  |
| Dichlobenil | Yes No |  |  |  |
| Dichlone | Yes No |  |  |  |
| 2,2-Dichloropropionic acid | Yes No |  |  |  |
| Dichlorvos | Yes No |  |  |  |
| Diethyl amine | Yes No |  |  |  |

Other Toxic Pollutants & Hazardous Substances Table (continued)

End-of-Pipe Sampling Location (Outfall ID):

| Pollutant | Reasonable Expectation of Presence in the Discharge? | Method ID | Results of Analyses | Units |
| --- | --- | --- | --- | --- |
| Dimethyl amine | Yes No |  |  |  |
| Dinitrobenzene | Yes No |  |  |  |
| Diquat | Yes No |  |  |  |
| Disulfoton | Yes No |  |  |  |
| Epichlorohydrin | Yes No |  |  |  |
| Ethion | Yes No |  |  |  |
| Ethylene diamine | Yes No |  |  |  |
| Ethylene dibromide | Yes No |  |  |  |
| Formaldehyde | Yes No |  |  |  |
| Furfural | Yes No |  |  |  |
| Guthion | Yes No |  |  |  |
| Isoprene | Yes No |  |  |  |
| Isopropanolamine dodecylbenzenesulfonate | Yes No |  |  |  |
| Kelthane | Yes No |  |  |  |
| Kepone | Yes No |  |  |  |
| Malathion | Yes No |  |  |  |
| Mercaptodimethur | Yes No |  |  |  |
| Methoxychlor | Yes No |  |  |  |
| Methyl mercapton | Yes No |  |  |  |
| Methyl methacrylate | Yes No |  |  |  |
| Methyl parathion | Yes No |  |  |  |
| Mevinphos | Yes No |  |  |  |
| Mexacarbate | Yes No |  |  |  |
| Monoethyl amine | Yes No |  |  |  |
| Monomethyl amine | Yes No |  |  |  |
| Naled | Yes No |  |  |  |
| Naphthenic acid | Yes No |  |  |  |

Other Toxic Pollutants & Hazardous Substances Table (continued)

End-of-Pipe Sampling Location (Outfall ID):

| Pollutant | Reasonable Expectation of Presence in the Discharge? | Method ID | Results of Analyses | Units |
| --- | --- | --- | --- | --- |
| Nitrotoluene | Yes No |  |  |  |
| Parathion | Yes No |  |  |  |
| Phenolsulfanate | Yes No |  |  |  |
| Phosgene | Yes No |  |  |  |
| Propargite | Yes No |  |  |  |
| Propylene oxide | Yes No |  |  |  |
| Pyrethrins | Yes No |  |  |  |
| Quinoline | Yes No |  |  |  |
| Resorcinol | Yes No |  |  |  |
| Strontium | Yes No |  |  |  |
| Strychnine | Yes No |  |  |  |
| Styrene | Yes No |  |  |  |
| 2,4,5-T (2,4,5-Trichlorophenoxy acetic acid) | Yes No |  |  |  |
| TDE (Tetrachlorodiphenyl ethane) | Yes No |  |  |  |
| 2,4,5-TP [2-(2,4,5-Trichlorophenoxy) propanoic acid] | Yes No |  |  |  |
| Diuron | Yes No |  |  |  |
| Trichlorofan | Yes No |  |  |  |
| Triethanolamine dodecylbenzenesulfonate | Yes No |  |  |  |
| Trimethylamine | Yes No |  |  |  |
| Triethylamine | Yes No |  |  |  |
| Uranium | Yes No |  |  |  |
| Vanadium | Yes No |  |  |  |
| Vinyl acetate | Yes No |  |  |  |
| Xylene | Yes No |  |  |  |
| Xylenol | Yes No |  |  |  |
| Zirconium | Yes No |  |  |  |

G.	Treatment

1.	Briefly describe the type(s) of treatment proposed for the recovered water.  Include unit size and system design capacity.  Describe the proposed system fully in Exhibit B.

2.	Does the facility have one or more wastewater treatment plant operators?

Yes	 No

If yes, include the following information:

Primary Wastewater Treatment Operator

| Name ( ) - ext. | Title |
| --- | --- |
| Telephone No. | Working Hours (e.g. Mon-Fri; 9:00 AM to 5:00 PM) |

Secondary Wastewater Treatment Operator

| Name ( ) - ext. | Title |
| --- | --- |
| Telephone No. | Working Hours (e.g. Mon-Fri; 9:00 AM to 5:00 PM) |

3.	Does the facility have a manual on the operation of the wastewater treatment system?

Yes	 No

4.	Does the facility have a written maintenance schedule for the wastewater treatment equipment?

Yes	 No

5.	Does the facility have a wastewater treatment plant operator-training program?

Yes	 No

If No to questions 2, 3, 4, or 5 above, explain:

H.	Non-Discharged Wastes

Are any waste liquids or sludges generated and not disposed of in the sanitary sewer system?

Yes	 No

If yes, provide the information requested in the two tables below as follows (add additional lines as necessary):

Under the column Type of Waste/Substance enter the type of wastes or substances (e.g. recovered fuels, organic solvents, spent filter media, etc.) that is or will be hauled off-site for disposal or reclamation. Under the column Means of Removal, enter the type of firm or facility that removes or accepts these materials from your site. Under the column Off-site Disposal, enter yes if the waste substances are disposed of off-site, no if they are disposed of on-site (i.e. septic system, lagoon, evaporative equipment).

| ID | Type of Waste/Substance | Means of Removal | Off-site Disposal? | Frequency | Quantity (per year) |
| --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |
| 2 |  |  |  |  |  |
| 3 |  |  |  |  |  |
| 4 |  |  |  |  |  |
| 5 |  |  |  |  |  |
| 6 |  |  |  |  |  |
| 7 |  |  |  |  |  |
| 8 |  |  |  |  |  |
| 9 |  |  |  |  |  |
| 10 |  |  |  |  |  |

Under the column ID, enter the ID number corresponding to the Type of Waste/Substance noted in the table above. Use multiple ID numbers if one transporter is used to dispose of more than one waste type.  Under the column Transporter Permit No., enter the TCEQ permit number for the transporter used to remove the waste substances from the site (if applicable). Under the column Disp. Facility Permit No., enter the US Environmental Protection Agency permit number for the facility used for final disposal of the waste substances from the site. Under the column CWT, enter yes if the disposal facility is a centralized waste treatment facility. Enter no if not.

| ID | Transporter Name | Transporter Permit No. | Disposal Facility Name | Disp. Facility Permit No. | CWT? |
| --- | --- | --- | --- | --- | --- |

I.	Supporting Exhibits

Attach the following exhibits and submit with the permit application:

###### Exhibit A: 	Facility Layout: Attach a legible general sketch of the site and include all appurtenant facilities (buildings, ponds, diversion ditches, intake structures, well locations, chemical and fuel storage, sanitary and storm sewer lines and outfalls, etc.), numbered discharge points, and sampling and flow monitoring points

Exhibit B	Wastewater Treatment Diagrams and Treatment System Operation: Attach a flow diagram for each existing or proposed treatment system.  Include treatment equipment, wastes, by-products, disposal methods, waste volumes, and design and operating conditions.  List all wastewater sample collection locations including those described on the Pollutant Data Sheet Table, the Hazardous Pollutants and Waste Characteristics Table and the Other Toxic Pollutants & Hazardous Substances Table in Section F. Describe the pollutant loadings, flow rates, design capacity, physical size, and operating procedures of each treatment facility installed.

###### Exhibit C	Slug Control Plan: All applicants are required to submit a Slug Control Plan. 	For guidance material relating to Slug Control Plan requirements and preparation guidelines, connect to the utility’s website at the following address:

http://www.ci.austin.tx.us/water/downloads/wwwssd_iw_scpreq.pdf

Exhibit D	Scope of Responsibility Documentation: Those applicants that operate but do not own the facility must submit a copy of the contract and/or other documents indicating the operator’s scope of responsibility for the facility.

Exhibit E	Compliance Schedule: If additional pretreatment and/or operation and maintenance will be required to meet the pretreatment standards, attach the shortest schedule by which the permittee will provide such additional pretreatment and/or operation and maintenance.

J.	Compliance Certification

1.	Are all applicable Federal, State, or Local pretreatment standards and requirements being met on a consistent basis?

Yes	 No

NA (not yet discharging)

If no, what additional operations and maintenance procedures are being considered to bring the facility into compliance? Also, list additional treatment technology or practice being considered in order to bring the facility into compliance. Also, attach as Exhibit E a schedule for bringing the facility into compliance. Specify major events planned along with reasonable compliance dates.

2.	Certification Statement:

The Authorized Representative as identified in Section B.2 (page 4) must sign this statement.

I certify under penalty of law that this document and all attachments were

prepared under my direction or supervision in accordance with a system

designed to assure that qualified personnel properly gather and evaluate the

information submitted. Based on my inquiry of the person or persons who

manage the system, or those persons directly responsible for gathering the

information, the information submitted is, to the best of my knowledge and

belief, true, accurate, and complete. I am aware that there are significant

penalties for submitting false information, including the possibility of fine and

imprisonment for knowing violations.

Printed Name

Title

Signature		Date