Section IV:  Planning Approach and Water Supply Recommendations

The Task Force strongly recommends that Austin explore a different approach beyond the current utility model.

- We encourage the City Council, AWU, and the community to embrace new decentralized models in addition to traditional centralized models

- We encourage the City Council, AWU, and business and residents to explore options that may not have been attractive 25 years ago based on cost, water availability and other issues

- The utility needs to look inward and critically assess its internal processes and ability to respond to changing water supply conditions and to implement water supply strategies

- Implement risk-based renewal planning approach to future utility needs.  High risk assets are addressed first.

- Austin Water Utility needs to place a priority on developing partnerships with the community, with other city deparments, and with other entities in our region that share our goals.

- Diversifying sources and investing in deep water conservation will require that Austin Water Utility continue to examine its rate structure and balance revenue reliability with volumetric rates that strongly discourage water waste.

The City of Austin and Austin Water Utility must develop a realistic Integrated Water Resources Plan similar to LCRA Water Management Plan and electric Integrated Resources Plan.

- Meaningful public participation in water supply is paramount to creating a new water paradigm to meet future water supply challenges.  This will enable Austin citizens and AWU customers to become educated about and engaged on our water supply challenges and to be partners in solutions.

- An integrated water resource plan will assist in identifying and facilitating opportunities for regional partnerships, technology cost sharing, balanced regional water reliability, and improved drought preparedness.

- In developing this plan, Austin should evaluate the impact of various water supply and climate scenarios to ensure sustainability of water supply and to assess the range of outcomes that we should be prepared to address.

- Multi-departmental and community input in developing an Integrated Water Resources plan is essential.

  - Austin Energy should participate in developing and implementing the plan.  Opportunities for energy generation from wastewater processing and water management should be explored

  - Watershed Protection should be involved in developing and implementing the plan.  Their expertise in the importance of maintaining minimum flows, achieving the highest quality of natural waters in the urban environment, protecting natural habitats, and the potential for rainwater and storm runoff to supplement potable water supplies are key to a secure water future.

- Conservation Potential Assessment – Commission an independent consultant’s review to assess the conservation potential and lost opportunities at AWU.

- The City uses significant volumes of water that are not managed by the Austin Water Utility. These volumes include 99,284 acre-feet of water diverted from the Colorado River for Austin Energy power plants in Calendar Year 2012. The City also irrigates Zilker Park and other parkland by direct withdrawals from the Colorado River. Individual residents are irrigated using Colorado River water or well water. The Integrated Water Resources Plan sshould encompass all water uses by the City, its residents, and businesses, regardless of their source.

- Demand forecasting

- The Integrated Water Plan should include an Austin water needs budget disaggregated by customer classes and indoor and outdoor use. A disaggregated water demand model provides important information on where the biggest potentials for water conservation lie, allows the City Council, AWU, and the community to set more meaningful demand management goals, and provides a better benchmark against which to compare our water use.

- Rate impacts of selected strategies should be evaluated

- Work on this plan should begin immediately, guided by this report to the Austin City Council.

Explore the following options in developing the Integrated Water Resources Plan

- Decentralization: The decentralized concept is the idea that water is most effectively and efficiently managed bycatching it, using it—and reusing it—as close to where it is falls, or is found, as practical. Infrastructure failure and vulnerabilities are minimized while water resources utilization is maximized on a local and highly integrated level. The overall system becomes more reliable and is adaptable to a variety of future development scenarios.  Decentralized rainwater harvest, ground and surface water use, stormwater catchment, graywater and wastewater treatment infrastructure can all be part of Austin Water Utility’s capital portfolio. It can also be developed economically by institutions private developers, and indivuduals at a competitive cost of service to what AWU offers. This  model frees up Austin Water’s capital to meet other needs and preserves the centralized utility supply sources.

- Conservation:  Demand management should be a primary focus of the utility.  A variety of regulatory and voluntary options should be considered and programs should be designed to serve all user groups.  The approach should be proactive and cutting-edge, with an emphasis on education and incentives that encourage implementation by individuals and businesses. Code and regulatory impediments like the prohibition on rainwater use for potable supply within 100 feet of centralized water service should be carefully examined in light of historical and scientifically-based risk data. Graywater and rainwater use should be allowed, supported, and encouraged in all situations for which any health risks are no more than other widely-allowed activities. Regulatory decisions should be independent of any concern regarding the consequences of more widely-available water alternatives on the Utility’s income.

- Diversification of supply sources.  Reliability of water supplycan be improved by diversifying supply sources, after we first assure that existing supplies are protected and used efficiently. New supplies that are local and, where appropriate, decentralized, are preferred over remote sources that require nrg rgyandcost-intensive pumping, and large upfront capital costs.

- Develop and foster regional cooperation to build a reliable and water-efficient economy for our region, in partnership with entities who share our goals of sustainability.

- Reuse: Focus on multiple cycle reuse of existing water supplies.  The lowest cost water is that which is already under our control.

- Address water demand by realistically assessing water  needs vs. wants

- Austin Water Utility should mitigate the ratepayer impacts of investing in new supply options by adopting a capital planning approach to identify and implement revenue-positive or revenue-neutral opportunities throughout its asset portfolio. Wastewater treatment facilities should be designed to capture (and monetize, where possible) the wastewater energy and nutrient load. Progressive utilities around the country, including San Antonio Water System, Alexandria Renew Enterprises and East Bay Municipal Utility District already generate energy or sell natural gas from their wastewater facilities.

- Austin Water Utility can also mitigate ratepayer impacts by encouraging the use of private capital to finance decentralized infrastructure throughout the city. Given Austin’s extraordinary growth and the scale of new development and redevelopment citywide, there is vast untapped potential to provide water solutions that do not implicate the balance sheet of Austin Water. In New York City and San Francisco, private land developers have demonstrated the economic opportunity of developing parcel-scale stormwater and wastewater reuse projects. These projects provide wastewater treatment and non-potable water at a cost of $11 – 15 per 1,000 gallons, making it competitive with Austin’s combined water and wastewater rates. Better still, these projects can be designed to be net energy neutral, using the heat from onsite wastewater treatment to provide hot and chilled water loops that can offset the energy needs of the building. The economic competitiveness of these projects scales with size, but with the smallest economic project pegged at 300,000 sq-ft, there are many opportunities within our growing city. One example of such a project is the New School in New York City.

Water Supply Project Evaluation Matrix

The Task Force developed a matrix that we recommend be used to evaluate different potential water supply projects.  This matrix includes evaluation criteria that we believe reflects  Austin’s values and ranges from cost to social impacts.  We encourage the city council to direct the utility to use this or a substantially similar approach to evaluate possible water supply projects.  We have provided definitions of the water supply project evaluation criteria and scoring criteria in order to be clear about the aspects that we feel are important to consider when evaluating water supply.

Despite the importance this community places on sustainability and water efficiency, data provided by the Austin Water Utility on the demand management and supply water yield and costs favor supply side options over demand management. Potential demand management yields have been underestimated. Water for indoor residential use, for example, is the highest of the Utility’s use categories. Nevertheless, the yield of all indoor demand management strategies proposed by Austin Water Utility is only 2,277 acre-feet per year.  This total is significantly short of our conservative estimate of 11,300 acre-feet of savings that could be achieved using efficient appliances and plumbing.

While potential the demand management option yields have been underestimated, costs for demand side management options were systematically overestimated. Although supply options were capitalized over 30 years, demand management costs were initially based on all costs occurring during the first implementation year. The utility made some adjustments, but there are still accounting discrepancies in the cost calculations that are unfavorable to demand site options.

While we feel that it is important to evaluate water supply projects, the Task 	Force did not feel that it was appropriate to score the water supply projects 	that were presented to us for several reasons.  We did not have sufficient 	time to go into the level of detail on strategy yield and cost that we feel is necessary to accurately populate this matrix. The numbers that were provided to the task force were from different sources and in some cases varied dramatically.  Different methodologies were used to arrive at cost and savings conclusions for different alternatives.  This made scoring projects in a way that they were weighed evenly against one another difficult in this timeframe.  By scoring the strategies, the WTF would have given the illusion of precision when we don’t have enough information to provide precise scoring on each of these strategies

We recommend that when populating the matrices, AWU and the City should take care to develop costs for both supply and demand management projects using consistent methodology to allow for appropriate comparison. Associated capital expenditures for all projects, regardless of demand or supply management, should be amortized over a set period and added to the related annual operations and maintenance (O&M) cost for a total annual cost of the project. Although it is not currently City financial policy to bond finance associated capital components of demand management strategies, this approach provides for relative comparison of strategies with supply-side options as well as recognizes the statutory and constitutional authority in the state of Texas to bond finance demand management expenditures. Progressive cities such as Las Vegas, Seattle and New York City have used their enterprise revenue bonds to finance water conservation efforts on the private property of their customers on the basis that the efforts serve the public interest, have quantifiable water savings that extend for at least as long as the lifetime of the debt used to finance them, and are secured through some means, such as a conservation easement or contract with the property owner.

Since capital costs for supply side projects include City staff costs to manage the projects, similar demand management staff costs should also be capitalized. Only such a true “apples-to-apples” comparison can provide an adequate basis for comparison.

Water Supply Recommendations
The Task Force believes that Austin faces immediate and long-term water supply challenges. and we recommend that Austin take immediate action to use our current supplies more efficiently while moving to develop additional supplies.  Our recommendations are as follows:

Short Term Demand Management Strategies -  The following drought response and water conservation measures should be implemented immediately.  Conservation should not, however, be limited to the following programs.

Proactive Implementation on Drought Response Stages:  We support the development and implementation of an Interim Stage 3 drought restriction as soon as feasibly possible to preserve water supplies.  We recommend the implementation of Stage 3 Interim at no later than 500k acre-feet (combined storage for Highland Lakes) and Stage 4 at no later than 400k acre-feet (combined storage for Highland Lakes).   Prior to implementing Stage 4, however, the Utility should remove all restrictions for graywater systems that comply with graywater requirements of the 2012 Uniform Plumbing Code. This graywater outdoor watering option would help to preserve landscapes and the urban tree canopy.  (See Codes and Ordinances section)

Water Conservation:  We recommend that the City place a strong focus on implementing demand side strategies (strategies that reduce per person water use) before implementing supply-side options.  Using the supplies that we currently have as efficiently as possible is paramount to sustainably managing our water supplies whether in drought or out of drought.  Austin Water Utility, with the aide of independent consultants with a historical commitment to conservation, reuse, and decentralized options, should develop benchmarks to use in evaluating potential water conservation programs.  Benchmarks should include cost and other factors.

  - Cost effective strategies that reduce water use should be a priority

  - Toilet replacement programs – there are a variety of programs contemplated by the utility that target toilet replacement

  - Require new facilities to capture Cooling towers and condensate from cooling towers

  - Remove all restrictions for graywater systems that comply with graywater requirements of the 2012 Uniform Plumbing Code. This graywater outdoor watering option would help to preserve landscapes and the urban tree canopy.

  - Engage home and commercial builders to discourage in-ground irrigation systems and limit Irrigated area in new development (similar to program implemented by Georgetown). Impact fees should be higher for new construction built with irrigation systems and other features that use more water and lower for water efficient or water nutral new construction.

  - Invest in customer water report software or services that can realize greater customer water savings and more cost-effectively market Austin Water’s existing incentive programs. One example is WaterSmart Software, which has achieved a 5% reduction in total water demand in 6 months at the East Bay Municipal Utility District. The software gives customer’s personalized reports on relative water usage compared to neighbors and identifies opportunities for rebates they haven’t used. A third-party estimate pegged the cost of water saved through WaterSmart at a midpoint unit cost of $380 / acre-foot for email reports and $400 / acre-foot for written reports to customers.

  - Direct Reuse - Develop the remainder of the core reclaimed water system. This option has the largest potential water supply impact of any demand-side strategies to better utilize existing water supplies.

  - Leak and Pipe Failure Detection and Remediation – Continue and enhance efforts to reduce leaks and system losses from AWU infrastructure, with greater transparency on current efforts and a cost-benefit analysis of options for reducing system water losses. Specifically, develop and share the relationship between loss reductions and costs.

  - Water conservation programs should include a mix of regulatory and behavior-based options.  These include…

    - Regulatory - Code modifications, etc.

    - Behavioral

      - Education - Value of Water initiatives and building a conservation culture should be a priority.

      - Incentives (conservation, rainwater harvesting)

      - Consumption comparison on average household bill

      - Utility should investigate nationally recognized software programs, such as WaterSmart, to integrate individualized customer usage and available rebate incentives and send customize mailings to water customers that identify opportunities for water savings.

Short Term Demand Management Strategies

  - Decentralization – The decentralized concept is the idea that water and wastewater is most effectively and efficiently managed by catching it, using it, —and reusing it—as close to where it is found as practical. Infrastructure failure and vulnerabilities are minimized while water resources utilization is maximized on a local and highly integrated level. The overall system becomes more reliable and is adaptable to a variety of future development scenarios.

  - Stormwater Management – Expand current stormwater management approach focused on water quality discharges to include volume management for all beneficial purposes including reclaimed and reuse opportunities.

In addition, we recommend that the city pursue several water supply strategies as soon as possible.  These include but are not limited to…

Short Term Water Supply Strategies

  - Automation of Longhorn Dam Gates – Immediately implement automation over manual operations.

  - Water Long Lake Off-Channel Storage – Explore and study enhanced storage option.

  - Lake Austin Varying Operating Level – Use public response as educational opportunity for water awareness.  Implement at 600k acre-feet combined storage.

  - Capture Barton Springs and other local inflows to Lady Bird Lake –By placing a permanent intake in Lady Bird Lake, Austin can readily expand its current water supply to include inflows from the Barton Springs Edwards Aquifer watershed, which includes many hundreds of square miles in the Colorado, Blanco, and Guadalupe River watersheds which are not currently part of Austin’s water supply. When downstream flow requirements are met, every gallon pumped from Lady Bird Lake is a gallon that can be retained in the Highland Lakes. This option should be a full-time source of water for Austin in the years ahead. Special care should be taken in constructing the intake to protection riparian and aquatic habitats, recreational uses and scenic lake view. . Austin Water Utility should immediately calculate the estimated yield of this option.

Mid Term Water Supply Strategies:  We expect that the city will study these options in more detail to fully evaluate their suitability for water supply solutions.

  - Tiered implementation approach. Diversification of water supply sources should be achieved through integration of regional strategies identified in City and Region K water planning processes.  Begin with the end in mind.

  - If there is potential to decommission Decker Power Station at Lake Walter E. Long, immediate implementation of Walter Long Lake enhanced off channel storage should be implemented.

  - Indirect Potable Reuse – The use of Lady Bird Lake to convey treated wastewater effluent from the South Austin Regional plant to an intake for the Ullrich Water Treatment Plant represents a significant departure from historical practice. While wastewater effluent is routinely treated to a quality that meets drinking water standards, those standards are not protective of more sensitive ecosystems. There is no reliable wastewater treatment technology on a municipal scale to achieve the nutrient concentration levels currently measured in Lady Bird Lake. Nevertheless, under severe drought conditions, this water supply represents a source that is in alignment with community values to exhaust every available local supply before importing water from other regions. Therefore, we recommend that the City of Austin apply for a wastewater discharge  permit into Lady Bird Lake from the South Austin Regional treatment plan. Implementation of the permit, should it be granted, should be only in the event of  400,000 acre-feet of combined storage or less. Discharge into the lake should occur for the shortest possible time.  (very deep drought)

Funding

  - The City should investigate alternate financial delivery mechanisms for future water supply projects.

  - City of Austin signed a contract with the Lower Colorado River Authority in 1999 to ensure that the agency would provide future water to the city during a repeat of the drought of record, prepaying $100 million to secure the supply.  LCRA should participate in funding any future water supply projects that are necessary to a reliable future supply of comparable volume to the City of Austin.

# Footnotes

Garrett, Kathleen, Memorandum to Electric Utility Commission, October 31, 2013.

# Comments

Is this the right place for strong recommendations?  Move to earlier in report?

Sharlene

Sharlene

Lauren

Lauren?

Sharlene

Sharlene

Lauren

Sharlene

Lauren

Include Google Map showing 3 foot drawdown in appendix

I cannot support indirect potable reuse through Lady Bird Lake. Austin has a long and significant history protesting any effluent discharge into the Highland Lake system. If the City were to apply for such a permit, they would lose the ability to effectively oppose such permits by other entities. There is no currently implemented wastewater treatment technology that adequately addresses nutrient loads or the wide range of pharmaceuticals, body care products and similar items that are well-documented constituents in wastewater effluent and in the natural water bodies downstream from their discharge. Furthermore, Austin could implement a reuse system for this volume of treated wastewater effluent for a wide range of nonpotable water uses that presents no environmental risk and does not compromise our ability to protect the Highland Lakes by opposing wastewater effluent discharge by others into our drinking water.